STORM WATER POLLUTION

PREVENTION PLAN

For

CITY OF NEWTON, KANSAS

CONSTRUCTION ACTIVITIES

At

#### [PROJECT NAME]

[Site Address]

#### [City, State Zip Code]

Prepared for:

[Owner/Operator Name]

[Owner/Operator Address]

[Owner/Operator City, State Zip Code]

Prepared by:

[Preparer Name]

[Prepare Business]

[Preparer Address]

[Preparer City, State Zip Code]

[Preparer Phone No.]

#### [Month, Year]

# TABLE OF CONTENTS

# SECTION 1

Notice of Intent (NOI) Submitted to KDHE

Owner’s Certification and Delegation

Contractor’s Certification and Delegation

Professional Engineer Certifications

###### SECTION 2

Storm Water Pollution Prevention Plan (SWPPP)

###### SECTION 3

Temporary Erosion and Sedimentation Control Plan Sheets (TESDPS)

###### SECTION 4

Sample of Public Notification Form

Subcontractor’s Certification Log Form

Monthly Training Log Form

Inspection Report Form

Stabilization Measures Inspection Report Form

Modification Report Form

Record of Stabilization Activities Form

Project Rainfall Log Form

###### SECTION 5

Final Stabilization Certification Checklist and Contractor’s Certification

Notice of Termination (NOT)

###### SECTION 6

Attachments

Record Keeping Documentation of the SWPPP

SECTION 1

Notice of Intent (NOI)

Owner’s/Contractor’s Certification and Delegation

Owner’s Certification and Delegation

#### Professional Engineer Certifications

# Insert NOTICE OF INTENT (NOI) Submitted to KDHE.

# NOI along with instructions can be found on the web at:

# http://www.kdheks.gov/stormwater/

# Click on “Construction Stormwater Program”

STORM WATER POLLUTION PREVENTION PLAN

OWNER’S CERTIFICATION and DELEGATION

PROJECT NAME

#### Site Address

City, State Zip Code

OWNER’S CERTIFICATION and DELEGATION:

"I certify under penalty of law that this document was prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations."

“I have delegated Storm Water Prevention Plan (SWPPP) compliance and inspection activities to [Company Name, Company Role (Contractor, Engineer, Construction Manager, etc.) and address of delegates].”

Signature:          __________________________________

Printed Name:   _________________________

Position:            _________________________

Phone Number:  _________________________

Date:                 _________________________

STORM WATER POLLUTION PREVENTION PLAN

CONTRACTOR’S CERTIFICATION

PROJECT NAME

#### Site Address

## City, State Zip Code

CONTRACTOR'S CERTIFICATION and DELEGATION:

"I certify under penalty of law that I understand the terms and conditions of the National Pollutant Discharge Elimination System (NPDES) Construction General Permit (CGP) that authorizes the storm water discharges from large and small construction activities.  Further, by my signature, I understand that I am fully responsible for any subcontractors who are performing work activities under this contract, to comply with all provisions and requirements of the general NPDES storm water permit and Storm Water Pollution Prevention Plan for the storm water discharges associated with construction activity from the identified site. I understand that I, and my company, are legally required under the Clean Water Act, to ensure compliance with the terms and conditions of NPDES storm water permit and Storm Water Pollution Prevention Plan (SWPPP) developed under the NPDES storm water permit and the terms of the NPDES storm water permit."

“I have delegated SWPPP compliance and inspection activities to the Project Manager and/or Designated Representative for the duration of construction activities for which this company is under contract with this project.”

Signature:            _________________________

Printed Name:      _________________________

Position:               _________________________

Date:                     _________________________

Company Name:

Phone Number:     _________________________

#### STORM WATER POLLUTION PREVENTION PLAN

PROFESSIONAL ENGINEER’S CERTIFICATION

PROJECT NAME

#### Site Address

## City, State Zip Code

PROFESSIONAL ENGINEER’S CERTIFICATION:

“This Storm Water Pollution Prevention Plan (SWPPP) has been prepared in accordance with good engineering practice and the Clean Water Act.”

Signature:    _____________________

Name:          Name, P.E.

Company Name

Phone Number:  __________________

Certifying

SWPP for:    Owner

City, State Zip Code

Date:   xx/xx/xx

Registration No. xxxxxx

State:  xxxxxxxx

###### SECTION 2

Storm Water Pollution Prevention Plan (SWPPP)

# STORM WATER POLLUTION PREVENTION PLAN

# PROJECT AND SITE DESCRIPTION:

PROJECT NAME AND LOCATION

PROJECT NAME

PROJECT LOCATION

Total Site Area:  XXXX Acres        Estimated Disturbed Area:  XXX Acres

OWNER’S NAME AND ADDRESS

Owner Name

Address

DESCRIPTION

This project will consist of site construction to accommodate (describe project scope)  Soil disturbing activities will primarily include:

MODIFY AS NECESSARY

- Construction of temporary construction exit points

- Construction of temporary sediment basin and storm water retention pond

- Site grading and installation of material laydown area

- Installation of storm sewer pipes, inlets and subsurface retention/detention pond

- Construction of dry and wet utilities

- Construction of site retaining walls

- Construction of curb and gutter, drives, and parking areas

- Construction of landscape irrigation system

The estimated time for completion of the construction project is XXX calendar days.

RUNOFF COEFFICIENT, SOILS, AND RAINFALL INFORMATION

The initial coefficient of runoff for the pre-construction site is "c" =0.XX

The current site consists of:  (describe project site).

The post-construction coefficient of runoff for the site will be "c" = 0.XX

The site is XXX acres of which XXX acres will be disturbed by construction activities.

Calculation of "c" value for post-construction site, site weighted average:

c = {(ac)(“c”)+(ac)(“c”)+(ac)(“c”)}/total site acres = 0.XX

The site has soils, which are classified by the USDA Soil Conservation Service as ………………… .  These soils are described as ………………..

The site is in ………….. County, which receives a maximum of X to X inches of rainfall annually with the highest amounts of rainfall received in the months of 		     through 		.

# STORM WATER POLLUTION PREVENTION PLAN

NAME OF RECEIVING WATERS

Runoff from the project site is discharged into …….[Describe whether city storm drain, stream, river, etc. as well as ultimate receiving river (Kansas River, ie.)]

CONTROLS:

EROSION AND SEDIMENT CONTROLS

1.  Stabilization Practices

Stabilization practices for this site include:

- [Land clearing activities shall be done only in areas where earthwork will be performed and shall progress, as earthwork is needed.]

- [Frequent watering of disturbed areas to minimize dust during construction.]

- [Installation of interim Best Management Practices (BMPs) to reduce overland flow lengths].

- [Permanent or Temporary Seeding of disturbed areas when earthwork completed.]

2.  Structural Practices

Structural practices for this site include but are not limited to the following range of BMPs. Construction details of BMPs are included on the Temporary Erosion Control Sheets:

- [Inlet protection and outlet protection using silt fences, sand bags, etc.]

- [Perimeter protection using silt fences.]

- [Facility wide sediment basin.]

- [Stabilized construction exit points and sufficient staging area for construction materials.]

- [Containment of the on-site sanitation facility to prevent uncontrolled waste discharges during pumping and cleaning activities.]

- [Other structural BMPs installed and maintained by the Contractor, as warranted by site conditions.]

#### STORM WATER POLLUTION PREVENTION PLAN

3.  Sequence of Major Activities

The Contractor will be responsible for implementing the following erosion control and storm water management control structures.  All structural practices shall be maintained through the course of the construction and shall be sequenced according to activities in the field.  The Contractor may designate these tasks to certain subcontractors as he sees fit, but the ultimate responsibility for implementing these controls and ensuring their proper functioning remains with the Contractor.  Refer to TESCPS contained in this SWPPP for details.  The order of activities will be as follows and shall be documented on the Record of Stabilization and Construction Activities Form:

- [Construct temporary construction exits].

- [Install perimeter silt fences and other BMPs].

- [Perform grading].

- [Frequent watering of the disturbed areas to minimize dust].

- [Disturbed areas of the site where construction activity has ceased for more than 14 days shall be stabilized].

- [Install BMPs at the locations of all grate inlets, curb inlets, and at the ends of all exposed storm sewer pipes].

- [

- Carry out final grading and gravel and/or asphalt placement].

- [Remove BMPs only after all paving is complete and exposed surfaces are stabilized].

- [Remove temporary construction exits].

#### STORM WATER POLLUTION PREVENTION PLAN

OTHER CONTROLS:

Management of materials and practices, outside of soil disturbing activities, shall be the responsibility of the Contractor.  Such activities shall include, but not be limited to, the items shown below.

1.  Waste Disposal

[All waste materials will be collected and stored in securely lidded metal dumpters rented from local waste haulers.  The dumpster will meet all local and state solid waste management regulations.  All waste and construction debris from the site will be deposited in the dumpsters.  The dumpster will be emptied on a periodical basis.  No construction waste materials will be buried onsite].

2.  Sanitary Waste

[All sanitary waste will be collected from the portable units on a frequent, periodical basis by a licensed sanitary waste management contractor].

3.  Concrete Waste From Concrete Trucks

[Excess concrete and concrete wash water shall be returned to the concrete plant or deposited at a designated containment area on site, constructed in a manner to prevent run-off from entering the street, storm water drainage systems or waterways.  Wash water may not be deposited in streets, curbs, gutters, storm drains, or waterways].

#### 4.  Hazardous Substances and Hazardous Waste

[All hazardous waste materials will be disposed of in the manner specified by local or state regulation or by the manufacturer.  The contractor’s site personnel will be instructed in these practices and the contractor’s Site Manager will be responsible for seeing that these practices are followed].

#### STORM WATER POLLUTION PREVENTION PLAN

MAINTENANCE/INSPECTION PROCEDURES:

Erosion and Sediment Control and Stabilization Measures Maintenance and Inspection Practices

- The following inspection and maintenance practices will be used to maintain erosion and sediment controls and stabilization measures to be performed by the Contractor.

- All control measures will be inspected at least every 14 days and within 24 hours following a 0.5 inches rainfall event.

- All measures will be maintained in good working order; if repairs are found to be necessary, they will be initiated within 24 hours of report.

- Built up sediment will be removed from silt fence when it has reached one-third the height of the fence.

- Silt fences will be inspected for depth of sediment, tears, etc., to see if the fabric is securely attached to the fence posts, and to see that the fence posts are securely in the ground.

- The sediment basin, if present, will be inspected for depth of sediment, and built up sediment will be removed when it reaches 10 percent of the design capacity.

- Temporary and permanent seeding and all other stabilization measures will be inspected for bare spots, washouts, and healthy growth.

- A maintenance inspection report will be made after each inspection.  Copies of the Inspection Report Forms to be completed by the inspector are included in this SWPPP under SECTION 4.

- The Contractor will be responsible for selecting and training the individuals who will be responsible for these inspections, maintenance and repair activities, and filling out inspection and maintenance reports.

- Personnel selected for the inspection and maintenance responsibilities will receive training from the Contractor.  Documentation of this personnel training will be kept in the Contractor’s SWPPP Folder.

- Disturbed areas and materials storage areas will be inspected for evidence of or potential for pollutants entering storm water systems.

- Report to U.S. Environmental Protection Agency within 24 hours any noncompliance with the SWPPP that will endanger public health or the environment.

Inspection and Maintenance Report Forms

These Inspection Report Forms shall be readily accessible to governmental inspection officials and the Operator for review upon request.  Copies of the reports shall be provided to any of these persons, upon request, via mail or facsimile transmission. Inspection and maintenance report forms are to be maintained by the permittee for five years following the final stabilization of the site.

Other Record-Keeping Requirements

The Contractor shall provide copies of the completed forms and any reports filed with regulatory agencies if reportable quantities of hazardous materials are spilled.

#### STORM WATER POLLUTION PREVENTION PLAN

SUMMARY OF EROSION AND SEDIMENT CONTROL AND STABILIZATION MEASURES MAINTENANCE/INSPECTION PROCEDURES

All control measures will be inspected at least every 14 days and within 24 hours following a rainfall event of 0.5 inches.

All measures will be maintained in good working order; if a repair is necessary, it will be initiated within 24 hours of report.

Built-up sediment will be removed from silt fences when it has reached one-third the height of the fence.

Silt fences will be inspected for depth of sediment, tears, to see if the fabric is securely attached to the fence posts, and to see that the fence posts are firmly in the ground.

Sediment basins, if present, will be inspected for depth of sediment, and built-up sediment will be removed when it reaches 10% of the design capacity or at the end of the job.

Diversion dikes, if present, will be inspected and any breaches promptly repaired.

Temporary and permanent seeding and planting and other stabilization measures will be inspected for bare spots, washouts, and healthy growth.

A maintenance inspection report will be made after each inspection. A copy of the Inspection Report Forms to be used is included in this SWPPP under SECTION 4.

The Contractor will select the individuals who will be responsible for inspections, maintenance and repair activities, and filling out the inspection and maintenance reports.

Personnel selected for inspection and maintenance responsibilities will receive training from the Contractor. They will be trained in all the inspection and maintenance practices necessary for keeping the erosion and sediment controls used onsite in good working order.

Disturbed areas and materials storage areas will be inspected for evidence of or potential for pollutants entering storm water systems.

Report to U.S. Environmental Protection Agency within 24 hours any noncompliance with the SWPPP that will endanger public health or the environment. Follow up with a written report within 5 days of the noncompliance event.

#### STORM WATER POLLUTION PREVENTION PLAN

CONSTRUCTION/IMPLEMENTATION CHECKLIST

1. 	Maintain Records of Construction Activities, including:

Dates when major grading activities occur

Dates when construction activities temporarily cease on a portion of the site

Dates when construction activities permanently cease on a portion of the site

Dates when stabilization measures are initiated on the site

Dates of rainfall and the amount of rainfall

Dates and descriptions of the character and amount of any spills of hazardous materials

Records of reports filed with regulatory agencies if reportable quantities of hazardous materials spilled

2.	Prepare Inspection Reports summarizing:

Name of inspector

Qualifications of inspector

Measures/areas inspected

Observed conditions

Changes necessary to the SWPPP

3. 	Report Releases of Reportable Quantities of Oil or Hazardous Materials (if they occur):

Notify National Response Center (1-800-424-8802) immediately

Notify the Kansas Department of Health and Environment.

Notify permitting authority in writing within 14 days

Modify the pollution prevention plan to include:

- the date of release

- circumstances leading to the release

- steps taken to prevent reoccurrence of the release

4. 	Modify Pollution Prevention Plan as necessary to:

Comply with the minimum permit requirements when notified by U.S. Environmental Protection Agency or Kansas Dept. of Health and Environment that the plan does not comply

Address a change in design, construction operation, or maintenance, which has an effect on the potential for discharge of pollutants

Prevent reoccurrence of reportable quantity releases of a hazardous material or oil

#### STORM WATER POLLUTION PREVENTION PLAN

SPILL PREVENTION CONTROL AND COUNTERMEASURES PLAN (SPCC):

MATERIALS COVERED

The following materials or substances with known hazardous properties are expected to be present   onsite during construction:

Concrete 			Cleaning solvents		Soil stabilization additives

Detergents			Petroleum based products	Concrete additives

Paints 				Pesticides			Fertilizers

Paint solvents 			Acids

MATERIAL MANAGEMENT PRACTICES

The following are the material management practices that will be used to reduce the risk of spills or other accidental exposure of materials and substances to storm water runoff.

1.  Good Housekeeping

The following good housekeeping practices will be followed onsite during the construction project.

- An effort will be made to store only enough products required to do the job.

- All materials stored onsite will be stored in a neat, orderly manner and, if possible, under a roof or other enclosure.

- Products will be kept in their original containers with the original manufacturer's label in legible condition.

- Substances will not be mixed with one another unless recommended by the manufacturer.

- Whenever possible, all of a product will be used up before disposing of the container.

- Manufacturer's recommendations for proper use and disposal will be followed.

- The Contractor will be responsible for daily inspections to ensure proper use and disposal of materials.

- If surplus product must be disposed of, manufacturer's or local/state/federal recommended methods for proper disposal will be followed.

- I.

All of the product in a container will be used before the container is disposed of.  All such containers will be triple-rinsed with water prior to disposal.  The rinse water used in these containers will be disposed of in a manner in compliance with state and federal regulations and will not be allowed to mix with storm water discharges.

#### STORM WATER POLLUTION PREVENTION PLAN

2.  Spill Prevention Practices

In addition to the good housekeeping, the following practices will be followed for spill prevention and cleanup.

- Manufacturer's recommended methods for spill cleanup will be clearly posted and site personnel will be trained regarding these procedures and the location of the information and cleanup supplies.

- Materials and equipment necessary for spill cleanup will be kept in the material storage area onsite in spill control and containment kit (containing, for example, absorbent such as kitty litter or sawdust, acid neutralizing powder, brooms, dust pans, mops, rags, gloves, goggles, plastic and metal trash containers, etc.).

- All spills will be cleaned up immediately after discovery.

- The spill area will be kept well ventilated and personnel will wear appropriate protective clothing to prevent injury from contact with the hazardous substances.

CONTROL OF ALLOWABLE NON-STORMWATER DISCHARGES:

Certain types of discharges are allowable under the U.S. Environmental Protection Agency General Permit for Construction Activity, and it is the intent of this SWPPP to allow such discharges.  These types of discharges will be allowed under the conditions that no pollutants will be allowed to come in contact with the water prior to or after its discharge.  The control measures, which have been outlined previously in this SWPPP, will be strictly followed to ensure that no contamination of these non-storm water discharges takes place. The following allowable non-storm water discharges that may occur from the job site include:

- Discharges from fire fighting activities.

- Fire hydrant flushing  (see note below).

- Waters used to wash vehicles or control dust in order to minimize offsite sediment tracking.

- Potable water sources such as waterline flushing (see note below), irrigation drainage from watering vegetation, routine exterior building washdown (without detergents present).   (See Note below)

- Pavement wash waters where spills or leaks of hazardous materials have not occurred or detergents have not been used.

- Springs and other uncontaminated groundwater, including dewatering ground water infiltration.

- Foundation or footing drains where no contamination with process materials such as solvents is present

SECTION 3

Temporary Erosion and Sedimentation Control Plan Sheets (TESCPS)

INSERT EROSION AND SEDIMENTATION CONTROL

PLANS AND SPECIFICATIONS

###### SECTION 4

Subcontractor’s Certification Log Form

Monthly Training Log Form

Inspection Report Form

Stabilization Measures Inspection Report Form

SWPPP Modification Report Form

Stabilization and Construction Activities Report Form

Project Rainfall Log Form

# STORMWATER POLLUTION PREVENTION PLAN

# SUBCONTRACTOR’S CERTIFICATION LOG FORM

PROJECT NAME

#### Site Address

City, State Zip Code

| # Company Name: |  |
| --- | --- |
| Address: |  |
| Contact Name: |  |
| Telephone Number: |  |
| Cell Phone/Pager: |  |
| Scope of Services: |  |
| Certification Date: |  |

| # Company Name: |  |
| --- | --- |
| Address: |  |
| Contact Name: |  |
| Telephone Number: |  |
| Cell Phone/Pager: |  |
| Scope of Services: |  |
| Certification Date: |  |

| # Company Name: |  |
| --- | --- |
| Address: |  |
| Contact Name: |  |
| Telephone Number: |  |
| Cell Phone/Pager: |  |
| Scope of Services: |  |
| Certification Date: |  |

| # Company Name: |  |
| --- | --- |
| Address: |  |
| Contact Name: |  |
| Telephone Number: |  |
| Cell Phone/Pager: |  |
| Scope of Services: |  |
| Certification Date: |  |

Project Manager and/or Designated Representative  ______________________________

STORM WATER POLLUTION PREVENTION PLAN

MONTHLY TRAINING LOG FORM

PROJECT NAME

#### Site Address

City, State Zip Code

Storm Water Pollution Prevention Plan Topic:  (Check as appropriate)

Temporary Soil Stabilization		Temporary Sediment Control

Wind Erosion Control			Tracking Control

Non-Storm Water Management		Waste Management and Materials

Pollution Control

Erosion & Sediment Control Plan

| Specific Training Objective: |  |
| --- | --- |

| Date: |  | Instructor: |  |
| --- | --- | --- | --- |

| Location: |  | Telephone: |  |
| --- | --- | --- | --- |

| ## Attendee Roster |  |  |
| --- | --- | --- |
| # Name | # Company | # Telephone |

Project Manager and/or Designated Representative _____________________

## STORM WATER POLLUTION PREVENTION PLAN

#### INSPECTION REPORT FORM

PROJECT NAME

#### Site Address

City, State Zip Code

INSPECTOR QUALIFICATIONS:

INSPECTION DATE:  _________________________________

SITE CONDITIONS:

| POLLUTANT CONTROL | IN CONFORMANCE | EFFECTIVE |
| --- | --- | --- |
| Construction Entrance/Exit | YES/NO/NA (See Below) | YES/NO/NA (See Below) |
| Perimeter Silt Fence | YES/NO/NA (See Below) | YES/NO/NA (See Below) |
| Inlet Protection | YES/NO/NA (See Below) | YES/NO/NA (See Below) |
| Outlet Protection | YES/NO/NA (See Below) | YES/NO/NA (See Below) |
| Temporary Sediment Basin | YES/NO/NA (See Below) | YES/NO/NA (See Below) |
| Material Laydown/Staging Area | YES/NO/NA (See Below) | YES/NO/NA (See Below) |
| Underground Storm Sewer | YES/NO/NA (See Below) | YES/NO/NA (See Below) |
| Curb/Curb & Gutter Systems | YES/NO/NA (See Below) | YES/NO/NA (See Below) |
| Storm Water Detention/Retention | YES/NO/NA (See Below) | YES/NO/NA (See Below) |
| Vehicle Service Area Berm | YES/NO/NA (See Below) | YES/NO/NA (See Below) |

VIOLATIONS NOTED:  (Explain each "NO" circled above)

RECOMMENDED REMEDIAL ACTIONS:

COMMENTS:

Based on the results of the inspection, necessary control modifications shall be implemented within 7 calendar days.  These reports shall be kept on file as part of the Storm Water Pollution Prevention Plan for at least three years from the date of completion and submission of the Final Stabilization Certification/Termination Checklist and Notice of Termination.  A copy of the SWPPP shall be available at all times during construction.

Certification Statement

"I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted.  Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.”

Name (Print):

Address:

Telephone:

Site location:

INSPECTOR: 		DATE:

(Signature)

Project Manager and/or Designated Representative ________________________

STORMWATER POLLUTION PREVENTION PLAN

#### STABILIZATION MEASURES INSPECTION REPORT FORM

PROJECT NAME

#### Site Address

City, State Zip Code

STABILIZATION MEASURES

INSPECTOR: 	                                                 DATE:

(Print)

__________________________________

(Signature)

QUALIFICATIONS OF INSPECTOR:

DAYS SINCE LAST RAINFALL:______________           AMOUNT OF LAST RAINFALL: _________________

| AREA | DATE SINCE LAST RAINFALL | DATE OF NEXT DISTURBANCE | STABILIZED? (YES/N0) | STABILIZED WITH | CONDITION |
| --- | --- | --- | --- | --- | --- |

STABILIZATION REQUIRED:

TO BE PERFORMED BY:                                      ON OR BEFORE

Project Manager and/or Designated Representative ________________________

STORMWATER POLLUTION PREVENTION PLAN

MODIFICATION REPORT FORM

PROJECT NAME

#### Site Address

City, State Zip Code

CHANGES REQUIRED FOR STORM WATER POLLUTION PREVENTION PLAN

| To: | # Project Manager/Engineer | # Date: |  |
| --- | --- | --- | --- |
| Address: |  |  |  |
| Telephone: |  |  |  |
| Facsimile: |  |  |  |
| Sent Via: | Facsimile | Courier | US Mail |

Inspector: 	                                                 Date:

(Print)

___________________________________

(Signature)

Qualification of Inspector:

Changes Required to the STORMWATER POLLUTION PREVENTION PLAN:

Reasons for Changes:

To be preformed by:                                           On or before:

STORMWATER POLLUTION PREVENTION PLAN

## RECORD OF STABILIZATION AND CONSTRUCTION ACTIVITIES FORM

PROJECT NAME

#### Site Address

City, State Zip Code

A record of dates when major grading activities occur, when construction activities temporarily or permanently cease on a portion of the site, and when stabilization measures are initiated shall be maintained until final site stabilization is achieved and the Notice of Termination is filed.

### MAJOR GRADING, CONSTRUCTION, OR STABILIZATION ACTIVITIES

Description of Activity:

Begin Date:                          Site Contractor:

Location:

End Date:

Description of Activity:

Begin Date:                          Site Contractor:

Location:

End Date:

Description of Activity:

Begin Date:                          Site Contractor:

Location:

End Date:

Description of Activity:

Begin Date:                          Site Contractor:

Location:

End Date:

Description of Activity:

Begin Date:                          Site Contractor:

Location:

End Date:

| _ |  |  | STORMWATER POLLUTION PREVENTION PLAN |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year 20XX |  |  | PROJECT RAINFALL LOG FORM PROJECT NAME #### Site Address #### City, State Zip Code |  |  |  |  |  |  |  |  |  |
| Month | Jan | Feb | Mar | Apr | May | June | July | Aug | Sep | Oct | Nov | Dec |
| Day |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |  |  |  |  |  |  |
| 31 |  |  |  |  |  |  |  |  |  |  |  |  |
| PM Initials |  |  |  |  |  |  |  |  |  |  |  |  |

SECTION 5

Final Stabilization Certification Checklist and Contractors Certification

Notice of Termination (NOT)

STORMWATER POLLUTION PREVENTION PLAN

FINAL STABILIZATION CERTIFICATION CHECKLIST

AND CONTRACTORS CERTIFICATION

PROJECT NAME

#### Site Address

City, State Zip Code

All soil disturbing activities are complete.

Temporary Erosion and Sediment Control Measures have been removed or will be removed at the appropriate time.

All areas of the Construction Site not otherwise covered by a permanent pavement or structure have been stabilized with a uniform perennial vegetative cover with a density of 75% or equivalent measures have been employed.

CONTRACTOR'S CERTIFICATION:

“I certify under penalty of law that all storm water discharges associated with industrial activity from the identified project that are authorized by NPDES General Permit have been eliminated and that all disturbed areas and soils at the construction site have achieved Final Stabilization and all temporary erosion and sediment control measures have been removed or will be removed at the appropriate time.”

Signature:            __________________________________

Printed Name:      _________________________

Position:               _________________________

Date:                     _________________________

Company Name:   _________________________

# Insert NOTICE OF TERMINATION (NOT) Submitted to KDHE.

# NOT along with instructions can be found on the web at:

# http://www.kdheks.gov/stormwater/

# Click on “Construction Stormwater Program”

SECTION 6

Attachments

###### Record Keeping Documentation of the SWPP